This form should be utilized to document evidence of traceability when non-accredited calibration providers are utilized. This should be completed and approved by PJLA assessors and headquarters. Any questions in regards to traceability should be directed to PJLA headquarters.

1) Company Name: ________________________________________________

2) External Calibration Laboratory: ____________________________________

3) Scope being evaluated:

4) Acceptance Criteria: *In order for the lab to claim traceability for the results of its calibration or tests it must satisfy the following 6 elements of traceability: 1) provide a clearly defined quantity that has been measured 2) provide a complete description of the measurement system or working standard used to perform the measurement 3) provide a stated measurement result or value, with a documented uncertainty 4) provide a complete specification of the stated reference at the time the measurement system or working standard that was compared to it 5) provide an internal measurement assurance program for establishing the status of the measurement system or working standard at all times pertinent to the claim of traceability 6) provide an internal measurement assurance program for establishing the status of the stated reference at the time that the measurement system or working standard was compared to it. If the lab has been assessed by the NMI and issued a document (such as a certificate of measurement traceability issued by NIST in the U.S. economy then 1-6 would have been met and no further action is necessary. Please provide details below describing the acceptance criteria or attach the certificate(s) issued from the NMI.

Completed by: _______________________ PJLA Approval: ________________